|  |  |  |  |
| --- | --- | --- | --- |
| |  |  | | --- | --- | | **Description: institute** | **JAWAHARLAL NEHRU GOVERNMENT ENGINEERING COLLEGE SUNDERNAGAR, DISTT. MANDI (HP)** | |  |

**INVITATION LETTER**

|  |  |
| --- | --- |
| Package Code: TEQIP-III/HP/jnge/53 | Current Date: 27-May-2019 |
| Package Name: JNGEC/WATER COOLERS/2019 | Method: Shopping Goods |

To,

**Sub: INVITATION LETTER FOR JNGEC/WATER COOLERS/2019**

Dear Sir,

|  |  |
| --- | --- |
| **1.** | You are invited to submit your most competitive quotation for the following goods with item wise detailed specifications given at Annexure I, |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Sr. No** | **Item Name** | **Quantity** | **Place of Delivery** | **Installation Requirement (if any)** |
| 1 | WATER COOLER WITH RO PURIFIER | 3 | JNGEC Sundernagar | Yes |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **2.** | | Government of India has received a credit from the International Development Association (IDA) towards the cost of the **Technical Education Quality Improvement Programme [TEQIP]-Phase III** Project and intends to apply part of the proceeds of this credit to eligible payments under the contract for which this invitation for quotations is issued. | | | |
| **3.** | | **Quotation** | | | |
|  | | 3.1 | | | The contract shall be for the full quantity as described above. |
|  | | 3.2 | | | Corrections, if any, shall be made by crossing out, initialling, dating and re writing. |
|  | | 3.3 | | | All duties and other levies payable by the supplier under the contract shall be included in the unit Price. |
|  | | 3.4 | | | Applicable taxes shall be quoted separately for all items. |
|  | | 3.5 | | | The prices quoted by the bidder shall be fixed for the duration of the contract and shall not be subject to adjustment on any account. |
|  | | 3.6 | | | The Prices should be quoted in Indian Rupees only. |
| **4.** | | Each bidder shall submit only one quotation. | | | |
| **5.** | | Quotation shall remain valid for a period not less than **45** days after the last date of quotation submission. | | | |
| **6.** | | Evaluation of Quotations: The Purchaser will evaluate and compare the quotations determined to be Substantially responsive i.e. which | | | |
|  | | 6.1 | | are properly signed; and | |
|  | | 6.2 | | Confirm to the terms and conditions, and specifications. | |
| **7.** | | The Quotations would be evaluated for all items together. | | | |
| **8.** | | Award of contract The Purchaser will award the contract to the bidder whose quotation has been determined to be substantially responsive and who has offered the lowest evaluated quotation price. | | | |
|  | | 8.1 | | Notwithstanding the above, the Purchaser reserves the right to accept or reject any quotations and to cancel the bidding process and reject all quotations at any time prior to the award of Contract. | |
|  | | 8.2 | | The bidder whose bid is accepted will be notified of the award of contract by the Purchaser prior to expiration of the quotation validity period. The terms of the accepted offer shall be Incorporated in the purchase order. | |
| **9.** | | Payment shall be made in Indian Rupees as follows: | | | |
|  |  |  | **Delivery and Installation - 90% of total cost Satisfactory Acceptance - 10% of total cost** | | |
| **10.** | | | Liquidated Damages will be applied as per the below:  Liquidated Damages Per Day Min % : N/A  Liquidated Damages Max % : N/A | | |  |
| **11.** | | | All supplied items are under warranty of **36** months from the date of successful acceptance of items and AMC/Others. | | |  |
| **12.** | | | You are requested to provide your offer latest by **12:00** hours on **19-Jun-2019.** | | |  |
| **13.** | | | Detailed specifications of the items are at Annexure I. | | |
| **14.** | | | Training Clause (if any) **yes** | | |
| **15.** | | | Testing/Installation Clause (if any) **yes** | | |
| **16.** | | | Performance Security shall be applicable**: %** | | |
| **17.** | | | Information brochures/ Product catalogue must be accompanied with the quotation clearly indicating the model quoted for. **Manufacture’s authorization/OEM certificate** must be attached.  17.1 The truly attested copy of GST registration of the firm, PAN of the owner, Agency Registration number and last year income tax return must be attached with the quotations. | | |
| **18.** | | | Sealed quotation to be submitted/ delivered at the address mentioned below, **Jawaharlal Nehru Government Engineering College Sundernagar, DISTT. MANDI (HP)** | | |
|  | **19.** | We look forward to receiving your quotation and thank you for your interest in this project. | | | |

(Authorized Signatory)

DIRECTOR/PRINCIPAL

**Annexure I**

|  |  |  |
| --- | --- | --- |
| **Sr. No** | **Item Name** | **Specifications** |
| 1 | WATER COOLER WITH RO PURIFIER | Water Cooler:- Faster cooling, Silent operation ,speedy drainage ,corrosion resistance body , Auto cut off, food grade Stainless steel body and tank, number of tap 02 or more , 150 liter cooling capacity. Dimensions (mm) 812x612x1210) weight 66kg minimum 750 glasses per hr. suitable for operation on 230V/1Ph/50Hz AC supply. Water purifier:- Wall mounted type electric purifier (Aquaguard classic UV with e boiling) , Complete 4 stage purification system, biotron technology, advanced mineral guard, intelligent purity sensor system , auto shut off, (Installation and fixing at required place with five year services and maintenance of purifier). |

**FORMAT FOR QUOTATION SUBMISSION**

(In letterhead of the supplier with seal)

Date: \_\_\_\_\_\_\_\_\_\_\_\_\_

To:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Sl. No. | Description of goods \ (with full Specifications) | Qty. | Unit | Quoted Unit rate in Rs.  (Including Ex-Factory price,  excise duty, packing and forwarding, transportation, insurance, other local costs incidental to delivery and  warranty/ guaranty commitments) | Total Price  (A) | Sales tax and other taxes payable | |
| In % | In figures (B) |
|  |  |  |  |  |  |  |  |
| **Total Cost** | | | | |  |  |  |

Gross Total Cost (A+B): Rs. \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

We agree to supply the above goods in accordance with the technical specifications for a total contract price of Rs. ———————— (Amount in figures) (Rupees ————————amount in words) within the period specified in the Invitation for Quotations.

We confirm that the normal commercial warranty/ guarantee of ——————— months shall apply to the offered items and we also confirm to agree with terms and conditions as mentioned in the Invitation Letter.

We hereby certify that we have taken steps to ensure that no person acting for us or on our behalf will engage in bribery.

Signature of Supplier

Name: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Address: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Contact No. \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_